## instrumentation
Lesson Plan
Name of the faculty : |  | Mr. Dayanand (Theory & Practical)
Discipline : |  | Electrical
Semester : |  | 5th
Subject : |  | instrumetation
Lesson Plan Duration : |  | 15 weeks (from September-2022 to January 2023)
Work load (Lecture/Practical) per week (55 minutes) : Lectures-03 , Practicals-04
Week | Theory |  | Practical Day
| Lecture day | Topic (Including assignment/test) | Practical Day | Topic
1st | Ist | Importance of measurement Need of measurement | 1st | To measure the level of a liquid using a transducer
| 2nd | Basic measurement system Advantages & Limitations of each measuring systems | 2nd | To measure temperature using a thermocouple
| 3rd | Generalized measurement system Signal conditioning system
2nd | 4th | Display devices, Introduction of transducer,importance of transducer | 3rd | To measure temperature using a thermocouple
| 5th | Characteristics of transducer ,construction
| 6th | Use of resistance, inductance transducer | 4th | To measure the level of a liquid using a transducer
3rd | 7th | Use of capacitive ,electromagnetic transducer | 5th | Study and use of digital temperature controller
| 8th | Use of piezo electric type transducer,application of transducer | 6th | Use of themistor in ON/OFF transducer
| 9th | Displacement Measuring Devices: wire wound potentiometer
4th | 10th | Assignment work | 7th | viva
| 11th | Assignment work
| 12th | Sessional test | 8th | viva
5th | 13th | LVDT, strain gauges | 9th | Use of themistor in ON/OFF transducer
| 14th | Different types such as inductance type, resistive type | 10th
| 15th | Capacitive type,wire and foil type |  | Study and use of digital temperature controller
6th | 16th | Different types of force measuring devices and their principle | 11th | Study of variable capacitive transducer
| 17th | load measurements by using elastic transducers and electrical strain gauges | 12th | Draw the characteristics of a potentiometer
| 18th | Gauge factor, gauge materials and their selections
7th | 19th | Use of electrical strain gauges | 13th | Draw the characteristics of a potentiometer
| 20th | strain gauge bridges and amplifiers | 14th | Study of variable capacitive transducer
| 21th | Different types of force measuring devices and their principles
8th | 22th | load measurements by using elastic transducers and electrical strain gauges | 15th | To measure linear displacement using LVDT
| 23th | Load cells, measurements of torque by brake, dynamometer | 16th | To study the use of electrical strain gauge
| 24th | electrical strain gauges
9th | 25th | Assignment work | 17th | To study the use of electrical strain gauge
| 26th | Assignment work | 18th | To measure linear displacement using LVDT
| 27th | Sessional test
10th | 28th | speed measurements; different methods, devices. | 19th | viva
| 29th | Bourdon pressure gauges | 20th | viva
| 30th | Electrical pressure pick ups and their principle
11th | 31th | Construction and applications. Use of pressure cells. | 21th | To study weighing machine using load cell
| 32th | Basic principles of magnetic | 22th | To study pH meter
| 33th | Ultrasonic flow meters
12th | 34th | Bimetallic thermometer | 23th | To study pH meter
| 35th | Thermoelectric thermometers, resistance thermometers | 24th | To study weighing machine using load cell
| 36th | Thermocouple, thermisters
13th | 37th | Pyrometer,Temperature recorders | 25th | review of practical 1-5
| 38th | Measurement of other non electrical quantities such as humidity | 26th | review of practical 1-5
| 39th | Measurement of other non electrical quantities such as pH
14th | 40th | Measurement of other non electrical quantities such as level | 27th | review of practical 6-10
| 41th | Inductive & capacitive method of level measurement | 28th | review of practical 6-10
| 42th | Measurement of other non electrical quantities such as vibrations
15th | 43th | Assignment work | 29th | viva
| 44th | Assignment work | 30th | viva
| 45th | Sessional test