Lesson Plan

| Name of Faculty | :- | Jaipal |
| --- | --- | --- |
| Discipline | :- | Electrical Engineering |
| Semester | :- | Fourth Semester |
| Subject | :- | Electrical Machine -II |

Lesson Plan Duration:- 15 Week

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
| 1st | Lecture Day | Topic | Practical Day | Topic |
|  | 1st | Unit-1 Synchronous Machine Main constructional features of synchronous machine including commutator and brushless excitation system | 1st | PRACTICAL-1 To plot relationship between no load terminal voltage and excitation current in a synchronous generator at constant speed |
|  | 2nd | Generation of three phase emf |  |  |
|  | 3rd | Production of rotating magnetic field in a three phase winding | 2nd | PRACTICAL-1 To plot relationship between no load terminal voltage and excitation current in a synchronous generator at constant speed |
|  | 4th | Concept of distribution factor and coil span factor and emf equation Armature reaction at unity, lag and lead power factor |  |  |
| 2nd | 5th | Operation of single synchronous machine independently supplying a load - Voltage regulation by synchronous impedance method | 3rd | PRACTICAL-2 Determination of the relationship between the voltage and load current of an alternator, keeping excitation and speed constant |
|  | 6th | Need and necessary conditions of parallel operation of alternators Synchronizing an alternator (Synchroscope method) with the bus bars |  |  |
|  | 7th | Operation of synchronous machine as a motor –its starting methods |  | PRACTICAL-2 Determination of the relationship between the voltage and load current of an alternator, keeping excitation and speed constant |

|  | 8th | Effect of change in excitation of a synchronous motor | 4th |  |
| --- | --- | --- | --- | --- |
| 3rd | 9th | Concept and Cause of hunting and its prevention | 5th | PRACTICAL-3 Determination of the efficiency of alternator from the open circuit and short circuit test |
|  | 10th | Rating and cooling of synchronous machines |  |  |
|  | 11th | Applications of synchronous machines (as an alternator, as a synchronous condenser) | 6th | PRACTICAL-3 Determination of the efficiency of alternator from the open circuit and short circuit test |
|  | 12th | REVISION UNIT-1 |  |  |
| 4th | 13th | REVISION UNIT-1 | 7th | PRACTICAL-4 Parallel Operation of 3-Phase Alternators |
|  | 14th | REVISION UNIT-1 |  |  |
|  | 15th | Unit-2 Induction Motors Salient constructional features of squirrel cage and slip ring 3-phase induction motors | 8th | PRACTICAL-4 Parallel Operation of 3-Phase Alternators |
|  | 16th | Principle of operation, slip and its significance |  |  |
| 5th | 17th | Locking of rotor and stator fields Rotor resistance, inductance, emf and current | 9th | PRACTICAL-5 Study of ISI/BIS code for 3-phase induction motors |
|  | 18th | Relationship between copper loss and the motor slip |  |  |
|  | 19th | Power flow diagram of an induction motor | 10th | PRACTICAL-5 Study of ISI/BIS code for 3-phase induction motors |
|  | 20th | Factors determining the torque |  |  |
| 6th | 21st | Torque-slip curve, stable and unstable zones | 11th | PRACTICAL-6 Perform at least two tests on 3-phase induction motors as per BIS code |
|  | 22nd | Effect of rotor resistance upon the torque slip relationship |  |  |

|  | 23rd | Double cage rotor motor and its applications | 12th | PRACTICAL-6 Perform at least two tests on 3-phase induction motors as per BIS code |
| --- | --- | --- | --- | --- |
|  | 24th | Starting of 3-phase induction motors, DOL, star-delta, auto transformer |  |  |
| 7th | 25th | Causes of low power factor of induction motors | 13th | PRACTICAL-7 To reverse the direction of rotation of 3-phase induction motor |
|  | 26th | Testing of 3-phase motor on no load and blocked rotor test and to find efficiency |  |  |
|  | 27th | Speed control of induction motor | 14th | PRACTICAL-7 To reverse the direction of rotation of 3-phase induction motor |
|  | 28th | Harmonics and its effects, cogging and crawling in Induction Motors. |  |  |
| 8th | 29th | REVISION UNIT-2 | 15th | PRACTICAL-8 To control speed of 3-phase induction motor |
|  | 30th | REVISION UNIT-2 |  |  |
|  | 31st | REVISION UNIT-2 | 16th | PRACTICAL-8 To control speed of 3-phase induction motor |
|  | 32nd | Unit-3 (Fractional Kilo Watt (FKW) Motors Single phase induction motors; Construction characteristics and applications |  |  |
| 9th | 33rd | Nature of field produced in single phase induction motor | 17th | PRACTICAL-9 Determination of efficiency by (a) no load test and blocked rotor test on an induction motor (b) direct loading of an induction motor (refer BIS code) |
|  | 34th | Split phase induction motor 1 Capacitors start and run motor |  |  |
|  | 35th | 2 Shaded pole motor | 18th | PRACTICAL-9 Determination of efficiency by (a) no load test and blocked rotor test on an induction motor (b) direct loading of an induction motor (refer BIS code) |
|  | 36th | 3 Reluctance start motor |  |  |
|  | 37th | Alternating current series motor and universal motors |  | PRACTICAL-10 |

| 10th | 38th | Single phase synchronous motor 1 Reluctance motor | 19th | Determination of effect of rotor resistance on torque speed curve of an induction motor |
| --- | --- | --- | --- | --- |
|  | 39th | 2 Hysteresis motor | 20th | PRACTICAL-10 Determination of effect of rotor resistance on torque speed curve of an induction motor |
|  | 40th | REVISION UNIT-3 |  |  |
| 11th | 41st | REVISION UNIT-3 | 21st | PRACTICAL-11 To plot Torque-Slip Characteristics of 3-phase induction motor |
|  | 42nd | REVISION UNIT-3 |  |  |
|  | 43rd | Unit-4 Special Purpose Machines | 22nd | PRACTICAL-11 To plot Torque-Slip Characteristics of 3-phase induction motor |
|  | 44th | Construction and working principle of linear induction motor |  |  |
| 12th | 45th | Construction and working principle of stepper motor, | 23th | PRACTICAL-12 Study of performance of a ceiling fan with or without Capacitor |
|  | 46th | Construction and working principle of servomotor |  |  |
|  | 47th | Construction and working principle of submersible motor | 24th | PRACTICAL-12 Study of performance of a ceiling fan with or without Capacitor |
|  | 48th | introduction to energy efficient motors. |  |  |
| 13th | 49th | REVISION UNIT-4 | 25th | PRACTICAL-13 To study the effect of a capacitor on the Performance of single-phase induction motor |
|  | 50th | REVISION UNIT-4 |  |  |
|  | 51st | REVISION UNIT-4 | 26th | PRACTICAL-13 To study the effect of a capacitor on the Performance of single-phase induction motor |
|  | 52nd | REVISION UNIT-1 |  |  |

| 14th | 53rd | REVISION UNIT-1 | 27th | PRACTICAL-14 To reverse the direction of rotation of Single phase induction motor |
| --- | --- | --- | --- | --- |
|  | 54th | REVISION UNIT-2 |  |  |
|  | 55th | REVISION UNIT-2 | 28th | PRACTICAL-14 To reverse the direction of rotation of Single phase induction motor |
|  | 56th | REVISION UNIT-3 |  |  |
| 15th | 57th | REVISION UNIT-3 | 29th | Revision |
|  | 58th | REVISION UNIT-4 |  |  |
|  | 59th | REVISION UNIT-4 | 30th | Revision |
|  | 60th | REVISION UNIT-4 |  |  |