## Sheet1 (2)
LESSON PLAN
Name of the faculty: |  | Daya Nand
Discipline : |  | Electrical Engg.
Semester : |  | 6th Sem
Subject : |  | IMEE
Lesson Plan Duration : |  | 15 weeks
Work load (Lecture/Practical) Two per week (ONE HOUR) / Practicals-04
Week | Theory |  | Practical
| Lecture day | Topic
1st | 1st | Tools, accessories and instruments required for installation. | Write IE rules related to safety & demonstrate the steps taken when a person come in contact with a live wire.
| 2nd | Maintenance and repair work Knowledge of Indian Electricity rules. | Study of tools ,accessories & instruments required during installation,maintenance & repair of electrical equipment.
2 nd | 3rd | Safety codes,causes and prevention of accidents. | Study of tools ,accessories & instruments required during installation,maintenance & repair of electrical equipment
|  | Artificial respiration of an electrocuted person, workmen's safety device. | Write IE rules related to safety & demonstrate the steps taken when aperson come in contact with a live wire.
Domestic installation, Introduction.
| 4th | Testing of electrical installation of a building ,Testing of insulation resistance to earth. | Study od steps required for erection of steel structure along with all accessories.
| 5th | Testing of insulation and resistance between conductors ,Continuity or open circuit test. | Measure insulation resistance of three phase PVC cable in a distribution board.
| 6th | Installation of transmission and Distribution Lines,Erection of steel structures. | Measure insulation resistance of three phase PVC cable in a distribution board.
|  | Connecting jumpers,tee-off points. | Study od steps required for erection of steel structure along with all accessories.
3rd | 7th | Joints and dead ends; crossing of roads, streets. | Study of steps required for erection of distribution line along with all accessories.
| 8th | Power/telecommunication lines and railway line. | Study of test done at the time of commissioning of transmission & distribution line as per IS standards.
| 9th | Earthing of transmission lines and guarding, spacing and configuration of conductors. | Study of test done at the time of commissioning of transmission & distribution line as per IS standards.
|  | Types of arrangement for suspension and strain insulators | Study of steps required for erection of distribution line along with all accessories.
4 th | 10th | Bird guards, anti-climbing devices and danger plates; sizes of conductor. | Prepare list of all electrical accessories required for installation of pole mounted substation etc
| 11th | Earth wire and guy wires, Testing and Commissioning. | Study of various pre installation tests as per IS standard done on various electrical equipment and cables.
| 12th | Laying of service lines, earthing. | Study of various pre installation tests as per IS standard done on various electrical equipment and cables.
|  | Work provision of service fuses, installation of energy meters. | Prepare list of all electrical accessories required for installation of pole mounted substation etc.
5 th | 13th | Assignment | Revision
| 14 th | Test | Revision
| 15th | Installation of Under ground Cables Inspection, storage. | Revision
|  | Transportation and handling of cables, cable handling equipment. | Revision
6th | 16 th | Cable laying introduction and one method of laying. | Revision
| 17 th | Cable laying depths other methods. | Revision
| 18 th | Clearances from other services such as: water pipes, sewerage, gas pipes. | Revision
|  | Power and telecommunication cables and coordination with these service. | Revision
7th | 19 th | Introduction to cable filling compounds, epoxy resins and hardeners. | Study of Various pre commissioning tests as per IS standard done on various electrical equipment and cables.
| 20 th | Cable jointing and terminations, testing and commissioning. | Prepare Maintenance schedule of power transformer.
| 21 th | Installation of Transformers Elementary idea regarding inspection and handling of transformers. | Prepare Maintenance schedule of power transformer.
|  | Installation of power transformers. | Study of Various pre commissioning tests as per IS standard done on various electrical equipment and cables.
8 th | 22 th | Installation of distribution transformers. | Revision
| 23 th | Earthing system. | Revision
| 24 th | Installation of pole mounted substation. | Revision
9 th | 25 th | Assignment, sessional test. | Revision
| 26 th |  | Revision
| 27 th | Plinth mounted and grid substations. | Revision
10 th | 28 th | Installation of different components of substations viz. bus bars, isolators. | Revision
| 29 th | CT and PT, lightning arrestors, control and relay panels,HT/LT circuit breakers. | Revision
30th
11 th | 31th | Handling and inspection of electric motors,generators. | Prepare Maintenance schedule of Distribution transformer.
| 32th | Drying out medium voltage distribution panels,Testing & commisssioning. | Prepare Maintenance schedule of motors.
33th
12 th | 34th | Authorized persons, danger notice, caution notice, permit to work,Arranging of shut downs etc. | Prepare Maintenance schedule of motors.
35th
| 36th | Definition and types of maintenance,maintenance schedule ,procedure. | Prepare Maintenance schedule of Distribution transformer.
13 th | 37th | Patrolling and visual inspection of lines-points to be noted during patrolling from ground; special,night inspection. | Revision
38th
| 39th | Maintenance schedule of transmission and distribution system. | Revision
14 th | 40th | Overhauling of motors, preventive maintenance. | Revision
| 41th | Trouble shooting of electric motors & Maintenance schedule of AC and DC motors. | Revision
| 42th | Testing of insulator ,lines ,motors & transformers. | Revision
15 th | 43th | Revision | Revision
| 44th | Assignment, sessional test. | Revision
45th

## Sheet1
LESSON PLAN
Name of the faculty: |  | Daya Nand
Discipline : |  | Electrical Engg.
Semester : |  | 6th Sem
Subject : |  | IMEE
Lesson Plan Duration : |  | 15 weeks
Work load (Lecture/Practical) Two per week (ONE HOUR) / Practicals-04
Week | Theory |  | Practical
| Lecture day | Topic
1st | 1st | Tools, accessories and instruments required for installation | Write IE rules related to safety & demonstrate the steps taken when aperson come in contact with a live wire
|  | Maintenance and repair work Knowledge of Indian Electricity rules | Study of tools ,accessories & instruments required during installation,maintenance & repair of electrical equipment
| 2nd | Safety codes,causes and prevention of accidents | Study of tools ,accessories & instruments required during installation,maintenance & repair of electrical equipment
|  | Artificial respiration of an electrocuted person, workmen's safety device | Write IE rules related to safety & demonstrate the steps taken when aperson come in contact with a live wire
Domestic installation, Introduction
2 nd | 3rd | Testing of electrical installation of a building ,Testing of insulation resistance to earth | Study od steps required for erection of steel structure along with all accessories
|  | Testing of insulation and resistance between conductors ,Continuity or open circuit test | Measure insulation resistance of three phase PVC cable in a distribution board
| 4th | Installation of transmission and Distribution Lines,Erection of steel structures, | Measure insulation resistance of three phase PVC cable in a distribution board
|  | Connecting jumpers,tee-off points | Study od steps required for erection of steel structure along with all accessories
3rd | 5 th | Joints and dead ends; crossing of roads, streets | Study of steps required for erection of distribution line along with all accessories
|  | Power/telecommunication lines and railway line | Study of test done at the time of commissioning of transmission & distribution line as per IS standards
| 6th | Earthing of transmission lines and guarding, spacing and configuration of conductors | Study of test done at the time of commissioning of transmission & distribution line as per IS standards
|  | Types of arrangement for suspension and strain insulators | Study of steps required for erection of distribution line along with all accessories
4 th | 7 th | Bird guards, anti-climbing devices and danger plates; sizes of conductor | Prepare list of all electrical accessories required for installation of pole mounted substation etc
|  | Earth wire and guy wires, Testing and Commissioning. | Study of various pre installation tests as per IS standard done on various electrical equipment and cables.
| 8 th | Laying of service lines, earthing, | Study of various pre installation tests as per IS standard done on various electrical equipment and cables.
|  | Work provision of service fuses, installation of energy meters | Prepare list of all electrical accessories required for installation of pole mounted substation etc
5 th | 9th | Assignment | REVISION
|  | Test | REVISION
| 10 th | Installation of Under ground Cables Inspection, storage, | Revision
|  | Transportation and handling of cables, cable handling equipment | Revision
6th | 11 th | Cable laying introduction and one method of laying | Revision
|  | Cable laying depths other methods | Revision
| 12 th | Clearances from other services such as: water pipes, sewerage, gas pipes, | Revision
|  | Power and telecommunication cables and coordination with these service | Revision
7th | 13 th | Introduction to cable filling compounds, epoxy resins and hardeners | Study of Various pre commissioning tests as per IS standard done on various electrical equipment and cables.
|  | Cable jointing and terminations, testing and commissioning | Prepare Maintenance schedule of power transformer
| 14 th | Installation of Transformers Elementary idea regarding inspection and handling of transformers | Prepare Maintenance schedule of power transformer
|  | Installation of power transformers | Study of Various pre commissioning tests as per IS standard done on various electrical equipment and cables.
8 th | 15 th | Installation of distribution transformers | Revision
| 16 th | Earthing system | Revision
|  | Installation of pole mounted substation | Revision
9 th | 17 th | Assignment, sessional test | Revision
Revision
| 18 th | Plinth mounted and grid substations | Revision
10 th | 19 th | Installation of different components of substations viz. bus bars, isolators | Revision
| 20 th | CT and PT, lightning arrestors, control and relay panels,HT/LT circuit breakers | Revision
11 th | 21 th | Handling and inspection of electric motors,generators | Prepare Maintenance schedule of Distribution transformer
| 22 th | Drying out medium voltage distribution panels,Testing & cmmisssioning | Prepare Maintenance schedule of motors
12 th | 23 th | Authorized persons, danger notice, caution notice, permit to work,Arranging of shut downs etc | Prepare Maintenance schedule of motors
| 24 th | Definition and types of maintenance,maintenance schedule ,procedure | Prepare Maintenance schedule of Distribution transformer
13 th | 25 th | Patrolling and visual inspection of lines-points to be noted during patrolling from ground; special,night inspection | Revision
| 26 th | Maintenance schedule of transmission and distribution system | Revision
14 th | 27 th | Overhauling of motors, preventive maintenance | Revision
|  | Trouble shooting of electric motors & Maintenance schedule of AC and DCmotors | Revision
| 28 th | Testing of insulator ,lines ,motors & transformers | Revision
15 th | 29 th | Revision | Revision
| 30th | Assignment, sessional test | Revision