## EEEM
LESSON PLAN
Name of the faculty: |  | JaiPal
Discipline : |  | Electrical Engg.
Semester : |  | 3rd
Subject : |  | Electrical Energy Conservation and Management
Lesson Plan Duration : |  | 15 weeks
Week | Theory
| Lecture day | Topic
1st | 1st | Unit-1 Lighting System:- Basic definitions- Lux, lumen and illumination space to height ratio
| 2nd | Types of different lamps and their features
| 3rd | Energy efficient practices in lighting
| 4th | Tips for energy saving in building - New Building, Existing Building
2nd | 5th | Laws of Illumination
| 6th | Calculation of illumination at different points, Main requirements for proper lighting
| 7th | Macro level approach at design stage
| 8th | Unit-2 Energy Conservation and EC Act 2001:- Introduction to energy management, energy conservation, energy efficiency and its need
3rd | 9th | Salient features of Energy Conservation Act 2001 & The Energy Conservation (Amendment) Act, 2010 and its importance
| 10th | Standards and Labeling - Concept of star rating and its importance, Types of product available for star rating
| 11th | Unit-3 Energy Audit:- Types and methodology
| 12th | Energy auditing reporting format
4th | 13th | Energy audit instruments
| 14th | Unit-4 Electrical Supply System and Motors Types of electrical supply system
| 15th | Single line diagram
| 16th | Transformer loading
5th | 17th | Tips for energy savings in transformers
| 18th | Motor Loading
| 19th | Variation in efficiency and power factor with loading
| 20th | Tips for energy savings in motors
6th | 21st | Need for energy efficient motors
| 22nd | Initial cost versus like cycle cost
| 23rd | Cost analysis on life cycle basis
| 24th | Various constructional features of EEMs
7th | 25th | EEM as compared to standard motors
| 26th | Unit-5 Energy Efficiency in Electrical Utilities:-Understanding Electricity Bill,Tariff structure
| 27th | Components of power (kW, kVA and kVAR) and power factor
| 28th | Concept of sanctioned load, maximum demand, contract demand and monthly minimum charges (MMC)
8th | 29th | Pumps:-Introduction to pump and its application. Efficient pumping system operation
| 30th | Energy efficiency in agriculture pumps, Tips for energy saving in pumps
| 31st | Compressed Air System:-Types of air compressor and its applications
| 32nd | Leakage test
9th | 33rd | Energy saving opportunities in compressors
| 34th | Energy Conservation in HVAC and Refrigeration System:-Introduction
| 35th | Concept of Energy Efficiency Ratio (EER)
| 36th | Energy saving opportunities in Heating, Ventilation and Air-conditioning (HVAC) and Refrigeration Systems
10th | 37th | Thermal Basics:-Types of fuels
| 38th | Thermal energy
| 39th | Energy contents in fuel
| 40th | Energy Units and its conversion in terms of metric tonne of oil equivalent (MTOE).
11th | 41st | Unit -6 General Energy Saving Tips:- Lighting System
| 42nd | Room Air Conditioners
| 43rd | Refrigerators
| 44th | Water Heater
12th | 45th | Computers
| 46th | Fans, Heaters, Blowers and Washing Machines
| 47th | Water Pumps
| 48th | Kitchens
13th | 49th | Transport
| 50th | Unit-7 Energy Conservation Building Code:- Haryana ECBC and its salient features including thermal behavior of buildings
| 51st | ECBC Guidelines on Building Envelope
| 52nd | ECBC Prescriptive Requirements for Building Envelope
14th | 53rd | ECBC Guidelines on Heating, Ventilation and Air Conditioning
| 54th | ECBC Guidelines on Service Hot Water and Pumping
| 55th | ECBC Guidelines on Lighting
| 56th | ECBC Guidelines on Electrical Power
15th | 57th | ECBC Guidelines on Star Labelling and Minimum Star rating
| 58th | STUDENT ACTIVITIES ON ENERGY CONSERVATION/ENERGY
| 59th | STUDENT ACTIVITIES ON ENERGY CONSERVATION/ENERGY
| 60th | STUDENT ACTIVITIES ON ENERGY CONSERVATION/ENERGY