LESSION PLAN

NAME OF THE FACULTY 	  : - HIMANSHU YADAV

DISCIPLINE			  : - ECE

SEMESTER			  : - FOURTH

SUBJECT			  : - INST.

LESSON PLAN DURATION	  : - 15 weeks (from January 2020 to April 2020)

WORK LOAD (LECTURE/PRACTICAL) PER WEEK (IN HOURS):- LECTURE-03, PRACTIACL-06

| WEEK | THEORY |  | PRACTICAL |  |
| --- | --- | --- | --- | --- |
|  | LECTURE DAY | TOPIC (including assignment/test) | PRACTICAL DAY | TOPIC |
| 1st | 1st | Importance of measurement | 1st Group-1 | To measure the level of a liquid using a transducer |
|  | 2nd | basic measuring systems |  |  |
|  | 3rd | Advantages and limitations of each measuring systems and display devices - assignments | 2nd Group-2 | To measure the level of a liquid using a transducer |
| 2nd | 4th | Transducers: Theory, construction | 3rd Group-1 | To measure temperature using a thermo-couple |
|  | 5th | use of various transducers (resistance type) |  |  |
|  | 6th | use of various transducers (inductance type) | 4th Group-2 | To measure temperature using a thermo-couple |
| 3rd | 7th | use of various transducers (capacitance type), | 5th Group-1 | Study and use of digital temperature controller |
|  | 8th | use of various transducers (electromagnetic type) |  |  |
|  | 9th | use of various transducers (piezo electric type) - assignments | 6th Group-2 | Study and use of digital temperature controller |
| 4th | 10th | Displacement Measuring Devices: wire wound potentiometer | 7th Group-1 | Use of thermistor in ON/OFF transducer |
|  | 11th | LVDT |  |  |
|  | 12th | strain gauges and their different types such as inductance type, resistive type, wire and foil type etc. | 8th Group-2 | Use of thermistor in ON/OFF transducer, |
| 5th | 13th | Gauge factor, Gauge materials and their selections. | 9th Group-1 | Study of variable capacitive transducer |
|  | 14th | Use of electrical strain gauges |  |  |
|  | 15th | Strain gauge bridges andamplifiers. - assignments | 10th Group-2 | Study of variable capacitive transducer |
| 6th | 16th | Different types of force measuring devices and their principles | 11th Group-1 | Draw the characteristics of a potentiometer |
|  | 17th | load measurements by using elastic transducers |  |  |
|  | 18th | load measurements by using elastic transducers and electrical strain gauges. | 12th Group-2 | Draw the characteristics of a potentiometer |
| 7th | 19th | Load cells | 13th Group-1 | To measure linear displacement using LVDT |
|  | 20th | measurements of torque by brake, dynamometer, electrical strain gauges, |  |  |
|  | 21th | Speed measurements; different methods, devices. | 14th Group-1 | To measure linear displacement using LVDT |

| 8th | 22th | - assignments - Class Test | 15th Group-1 | Revision |
| --- | --- | --- | --- | --- |
|  | 23th | Pressure Measurement: Bourdon pressure gauges, |  |  |
|  | 24th | electrical pressure pick-ups and their principle, construction and application | 16th Group-2 | Revision |
| 9th | 25th | electrical pressure pick-ups and their principle,construction and application | 17th Group-1 | To study the use of electrical strain gauge |
|  | 26th | Use of pressure cells - assignments |  |  |
|  | 27th | Flow Measurement: introduction | 18th Group-2 | To study the use of electrical strain gauge |
| 10th | 28th | Basic principles of magnetic flow meters | 19th Group-1 | To study weighing machine using load cell |
|  | 29th | Basic principles of ultrasonic flow meters |  |  |
|  | 30th | - assignments - Class Test | 20th Group-2 | To study weighing machine using load cell |
| 11th | 31th | Measurement of Temperature: introduction | 21th Group-1 | To study pH meter. |
|  | 32th | Bimetallic thermometer |  |  |
|  | 33th | Thermoelectric thermometers | 22th Group-2 | To study pH meter. |
| 12th | 34th | Resistance thermometers | 23th Group-1 | Revision |
|  | 35th | Thermocouple |  |  |
|  | 36th | Thermistors | 24th Group-2 | Revision |
| 13th | 37th | Pyrometer. | 25th Group-1 | Test |
|  | 38th | Temperature recorders - assignments |  |  |
|  | 39th | Measurement of other non-electrical quantities :- introduction | 26th Group-2 | Test |
| 14th | 40th | Humidity | 27th Group-1 | Revision |
|  | 41th | pH level |  |  |
|  | 42th | Vibrations | 28th Group-2 | Revision |
| 15th | 43th | - assignments - Class Test | 29th Group-1 | Revision |
|  | 44th | - Class Test |  |  |
|  | 45th | - Class Test | 30th Group-2 | Revision |