Lesson Plan

Name of Faculty       :-                       DHARAM PAL

Designation		:- 		SR. LECTURER

Discipline                   :-                      ELECTRICAL ENGINEERING

Semester                     :-	           6th

Subject                        :-                   ELECTRICAL POWER-II

Lesson Plan Duration:- 15 Week

WORK LOAD (LECTURE/PRACTICAL) PER WEEK (IN HOURS):-                        LECTURE-04, PRACTICAL-06

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
| 1st | Lecture Day | Topic | Practical Day | Topic |
|  | 1st | Introduction about the syllabus of the subject & scope of the subject. | 1st | Practical No.-1 Testing of the dielectric strength of transformer oil and air. (Group-1) |
|  | 2nd | Unit-I Faults Common type of faults in both overhead and underground systems, symmetrical/ unsymmetrical faults. |  |  |
|  | 3rd | Single line to ground fault, double line to ground fault, 3-phase to ground fault open circuit. | 2nd | Practical No.-1 Testing of the dielectric strength of transformer oil and air.(Group-II) |
|  | 4th | Simple problems relating to fault finding. |  |  |
| 2nd | 1st | Unit-II Switch Gears Purpose of protective gear, Difference between switch, isolator and circuit breakers. | 1st | Practical No.-2 Study of different types of circuit breakers and isolators. (Group-1) |
|  | 2nd | Function of isolator and circuit breaker, Making capacity of the circuit breaker(only definition) |  |  |
|  | 3rd | Breaking capacity of the circuit breaker (only definition), Introduction about the circuit breaker. | 2nd | Practical No.-2 Study of different types of circuit breakers and isolators. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 3rd | 1st | Classification of circuit breakers, bulk and minimum oil circuit breakers. | 1st | Practical No.-2 Study of different types of circuit breakers and isolators. (Group-1) |
|  | 2nd | Bulk oil circuit breaker. |  |  |
|  | 3rd | Different types of bulk oil circuit breakers. | 2nd | Practical No.-2 Study of different types of circuit breakers and isolators. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 4th | 1st | Minimum oil circuit breakers. | 1st | Practical No.-3 Plot the time current characteristics of over current relay. (Group-1) |
|  | 2nd | Principles of Arc extinction in Oil Circuit Breaker. |  |  |
|  | 3rd | Principles of Arc extinction in Air Circuit Breaker. | 2nd | Practical No.-3 Plot the time current characteristics of over current relay. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 5th | 1st | Constructional features of OCB & their working | 1st | Practical No.-4 Power measurement by using CTs and PTs. (Group-1) |
|  | 2nd | Constructional features of SF6 circuit breakers & their working. |  |  |
|  | 3rd | Method of arc extinction in OCB & ACB. | 2nd | Practical No.-4 Power measurement by using CTs and PTs. (Group-II) |
|  | 4th | Miniature circuit breakers MCB, MCCB, ELCB, for distribution and transmission system (Descriptive) |  |  |
| 6th | 1st | Unit-III Protection Devices Fuses; function of fuse. Types of fuses, HV and LV fuses, rewire-able, cartridge,HRC. | 1st | Practical No.-4 Power measurement by using CTs and PTs. (Group-1) |
|  | 2nd | Earthing, purpose of earthing, method of earthing. |  |  |
|  | 3rd | Equipment earthing, Substation earthing, system earthing as per indian Electricity rules. | 2nd | Practical No.-4 Power measurement by using CTs and PTs. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 7th | 1st | Methods of reducing earth resistance. Introduction about the relays. | 1st | Practical No.-5 Earthing of different equipment/Main Distribution Board and Energy Meter Box. (Group-1) |
|  | 2nd | Classification of relays, Electromagnetic relays, their construction and working |  |  |
|  | 3rd | Thermal relays, their construction and working | 2nd | Practical No.-5 Earthing of different equipment/Main Distribution Board and Energy Meter Box. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 8th | 1st | Induction type over-current relay. | 1st | Practical No.-5 Earthing of different equipment/Main Distribution Board and Energy Meter Box. (Group-1) |
|  | 2nd | Earth fault relays |  |  |
|  | 3rd | Instantaneous over current Relay | 2nd | Practical No.-5 Earthing of different equipment/Main Distribution Board and Energy Meter Box. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 9th | 1st | Directional over-current relay. | 1st | Practical No.-6 Perform the overload and short circuit test of MCB as per IS specifications. (Group-I) |
|  | 2nd | Differential relays, their functions. |  |  |
|  | 3rd | Distance relays, their functions. | 2nd | Practical No.-6 Perform the overload and short circuit test of MCB as per IS specifications. (Group-II) |
|  | 4th | Idea of static relays and their applications |  |  |
| 10th | 1st | Unit-IV Protection Scheme Relays for generator protection. | 1st | Practical No.-7 Plot the time-current characteristics of Kit-Kat fuse wire. (Group-I) |
|  | 2nd | Protection scheme for transformer. |  |  |
|  | 3rd | Construction & working of Buchholtz relay. | 2nd | Practical No.-7 Plot the time-current characteristics of Kit-Kat fuse wire. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 11th | 1st | Protection of feeders and bus bars. | 1st | Practical No.-7 Plot the time-current characteristics of Kit-Kat fuse wire. (Group-I) |
|  | 2nd | Over current and earth fault protection for feeders & bus bars. |  |  |
|  | 3rd | Distance protection for transmission system. | 2nd | Practical No.-7 Plot the time-current characteristics of Kit-Kat fuse wire. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 12th | 1st | Relays for motor protection. | 1st | Practical No.-8 Taking reading of current on any LT line with clip on meter. (Group-I) |
|  | 2nd | Unit-V Over voltage Protection Protection of system against over voltages. |  |  |
|  | 3rd | Causes of over voltages, utility of ground wire. | 2nd | Practical No.-8 Taking reading of current on any LT line with clip on meter. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 13th | 1st | Lightning arrestors, requirements of lightning arrestors. | 1st | Practical No.-1 Testing of the dielectric strength of transformer oil and air. (Group-1) |
|  | 2nd | Rod gap LA, Horn gap LA. |  |  |
|  | 3rd | Metal oxide type & other types of lightning Arrestors. | 2nd | Practical No.-1 Testing of the dielectric strength of transformer oil and air.(Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 14th | 1st | Transmission Line protection against over-voltages and lightning | 1st | Practical No.-6 Perform the overload and short circuit test of MCB as per IS specifications. (Group-I) |
|  | 2nd | Substation protection against over-voltages and lightning |  |  |
|  | 3rd | Unit-6 Various Types of Tariffs Concept of Tariffs, objectives etc. | 2nd | Practical No.-6 Perform the overload and short circuit test of MCB as per IS specifications. (Group-II) |
|  | 4th | Revision of the above covered topic's of the current week. |  |  |
| 15th | 1st | Block rate, flat rate, maximum demand and two part tariffs. | 1st | Practical No.-4 Power measurement by using CTs and PTs. (Group-1) |
|  | 2nd | Simple problems on tariffs. |  |  |
|  | 3rd | Revision of the above covered topic's of the current week. | 2nd | Practical No.-4 Power measurement by using CTs and PTs. (Group-II) |
|  | 4th | Clarification of doubt about any topic of the subject raised by the students. |  |  |