Lesson Plan

Name of Faculty       :-                     DHARAM PAL

Designation		:-		SR. LECTURER

Discipline                   :-                    ELECTRICAL ENGINEERING

Semester                     :-	           4th

Subject                        :-                   ELECTRICAL ENGG. DESIGN & DRAWING-II

Lesson Plan Duration:- 15 Week

Work load (Lecture/Practical) per week (60 minutes) : Lectures-00, Practicals-06

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
| 1st | Lecture Day | Topic | Practical Day | Topic |
|  | 1st | Introduction about the syllabus of the subject & scope of the subject. |  |  |
|  | 2nd | Unit-I Contractor Control Circuits Sheet No. 1 (i) Draw schematic & power wiring diagram of Direct On Line starting of a 3-phase induction motor with specification of contractor. (ii) Draw schematic & power wiring diagram of Direct On Line remote starting of a 3-phase induction motor from two different location's with specification of contractor. |  |  |
| 2nd | 1st | Sheet No. 2 (i) Draw schematic & power wiring diagram of 3-phase induction motor getting supply from two different feeders having Electrical interlocking with specification of contractor. (ii) Draw schematic & power wiring diagram of 3-phase induction motor getting supply from two different feeders having Electrical interlocking as well as mechanical interlocking with specification of contractor |  |  |
|  | 2nd | Revision of sheet No. 1 & Sheet No. 2. |  |  |
| 3rd | 1st | Sheet No. 3 (i) Draw schematic & power wiring diagram of sequential starting of two 3-phase induction motor manually. (ii) Draw schematic & power wiring diagram of sequential starting of two 3-phase induction motor automatically using Time Delay Relay with specifications. |  |  |
|  | 2nd | Sheet No. 4 (i) Draw schematic & power wiring diagram for forwarding/reversing of 3-phase induction motor. (ii) Draw schematic & power wiring diagram for water level control of 3-phase induction motor using limit switches with specifications. |  |  |
| 4th | 1st | Revision of sheet No. 3 & Sheet No. 4. |  |  |
|  | 2nd | Sheet No. 5 (i) Draw schematic & power wiring diagram for two speed control of 3-phase induction motor manually having electrical interlocking with specifications of contractors. (ii) Draw schematic & power wiring diagram for two speed control of 3-phase induction motor automatically using Time Delay Relay with specifications of contractors. |  |  |
| 5th | 1st | Sheet No. 6 (i) Draw the neat connection diagram of manually operated star-Delta starter for 3-phase induction motor. ii) Draw schematic & power wiring diagram of Automatic Star Delta Starter for 3-phase induction with specifications of contractors. |  |  |
|  | 2nd | Revision of sheet No. 5 & Sheet No. 6. |  |  |
| 6th | 1st | Unit-II Earthing Sheet No. 7 (i) Draw the neat sketch of Pipe earthing showing all relevant dimensions with the list of materials & costing required for the pipe earthing. |  |  |
|  | 2nd | Ist Sessional test. |  |  |
| 7th | 1st | Sheet No. 8 (i) Draw the neat sketch of Plate earthing showing all relevant dimensions with the list of materials & costing required for the plate earthing. |  |  |
|  | 2nd | Sheet No. 9 Draw the neat sketch of Substation Earthing layout and Earthing materials required. |  |  |
| 8th | 1st | Revision of sheet No. 7 & Sheet No. 8. |  |  |
|  | 2nd | Sheet No. 10 Question & Answer regarding Earthing. |  |  |
| 9th | 1st | Sheet No. 11 (i) Draw the neat sketch of key diagram of 11Kv sub-station with the table of symbols used. (ii) Draw the neat sketch of key diagram of 33Kv sub-station with the table of symbols used. |  |  |
|  | 2nd | Revision of sheet No. 9 & Sheet No. 10. |  |  |
| 10th | 1st | Sheet No. 12 (i) Draw the neat sketch of key diagram of 66Kv sub-station with the table of symbols used. (ii) Draw the neat sketch of key diagram of 132Kv sub-station with the table of symbols used. |  |  |
|  | 2nd | Revision of sheet No. 11 & Sheet No. 12. |  |  |
| 11th | 1st | Unit-III Sheet No. 13 (i) Draw the schematic diagram of lighting system of conference room. (ii) Draw the schematic diagram of lighting system of Theatre. |  |  |
|  | 2nd | 2nd Sessional test. |  |  |
| 12th | 1st | Sheet No. 14 Draw the schematic diagram of lighting system of sports Stadium (Indoor and outdoor). |  |  |
|  | 2nd | Revision of sheet No. 13 & Sheet No. 14. |  |  |
| 13th | 1st | Sheet No. 15 Draw and explain some basic AUTOCAD commands. |  |  |
|  | 2nd | Revision of sheet No. 15. |  |  |
| 15th | 1st | Clarification about any doubts raised by the students regarding whole syllabus of the subject. |  |  |
|  | 2nd | 3rd Sessional test. |  |  |