## EMMI
Lesson Plan
Name of the faculty |  |  | Mr. Dayanand (Theory & Practical)
Discipline : |  |  |  | Electrical
Semester : |  |  | 4th
Subject : |  |  |  | EMMI
Lesson Plan Duration : |  |  |  | 15 weeks (from January 19 to April 2019)
Work load (Lecture/Practical) per week (60 minutes) : Lectures-04 , Practicals-02
Week | Lecture day | Theory | Practical Day | Practical
|  | Topic (Including assignment/test) |  | Topic
1st | Ist | Introduction to concept of measurement & instruments,sources of error | 1st | 1. Use of analog and digital multimeter for measurement of voltage, current (A.C/D.C) and resistance
| 2nd | Introduction to type of instruments,indicating,integrating,recording instruments | 2nd | 1. Use of analog and digital multimeter for measurement of voltage, current (A.C/D.C) and resistance
| 3rd | indicating instruments - deflecting,controlling & damping torque
2nd | 4th | Concept of ammeter & voltmeter merits & demerits | 3rd | 2. To measure power , power factor in a single phase circuit using wattmeter & power factor meter
| 5th | concept of moving coil instruments
| 6th | concept of moving iron instruments | 4th | 2. To measure power , power factor in a single phase circuit using wattmeter & power factor meter
3rd | 7th | merits & demerits & sources of error | 5th
| 8th | construction ,working merits & demerits of Dynamometer type wattmeter, digital wattmeters | 6th | 3. To measure the value of earth resistance using earth tester
| 9th | introduction to energy meter
4th | 10th | construction & working principle | 7th | 3. To measure the value of earth resistance using earth tester
| 11th | errors & simple problem in energy meter
| 12th | Maximum demand indicator | 8th | 4. Measurement of power and power factor of a three-phase balanced load by two wattmeter method
5th | 13th | Digital energy meter (diagram, construction and application | 9th | 4. Measurement of power and power factor of a three-phase balanced load by two wattmeter method
| 14th | Construction, working principle and application of Meggar | 10th
| 15th | Earth tester(analog and digital |  | 5. Measurement of voltage and frequency of a sinusoidal signal using CRO and draw wave shape of signal
6th | 16th | Multimeter, Frequency meter (dynamometer type) | 11th | 5. Measurement of voltage and frequency of a sinusoidal signal using CRO and draw wave shape of signal.
| 17th | single phase power factor meter (Electrodynamometer type). | 12th | 6. Use of LCR meter for measuring inductance, capacitance and resistance
| 18th | Working principle of synchroscope
7th | 19th | phase sequence indicator | 13th | 6. Use of LCR meter for measuring inductance, capacitance and resistance
| 20th | tong tester (Clamp-on meter) | 14th | 7. To record all electrical quantities from the meters installed in the institution premises.
| 21th | Instrument Transformers: Construction, working and applications a) CT
8th | 22th | Instrument Transformers: Construction, working and applications a) PT | 15th | 7. To record all electrical quantities from the meters installed in the institution premises.
| 23th | Cathode Ray Oscilloscope: Block diagram | 16th | 8. Calibration of single phase and three-phase energy meter
| 24th | working principle of CRO and its various controls. Applications of CRO.
9th | 25th | Digital multi-meter (only block diagram) and Applications | 17th | 8. Calibration of single phase and three-phase energy meter
| 26th | LCR meters. | 18th | 9.Measurement of pressure by using LVDT
| 27th | Study of LCR meters and their applications
10th | 28th | Power Measurements in 3-phase circuits by two wattmeter method balanced circuits and simple problems | 19th | 9.Measurement of pressure by using LVDT
| 29th | Power Measurements in 3-phase circuits by two wattmeter method unbalanced circuits and simple problems | 20th | 10. Measurement of temperature by using thermister/Thermal Imager
| 30th | Three wattmeter method
11th | 31th | Introduction, Types of Transducers (1 phase,3 phase | 21th | 10. Measurement of temperature by using thermister/Thermal Imager
| 32th | Basic concept of pressure measurement | 22th | 11. To measure Energy at different Loads using Single Phase digital energy meter
| 33th | flow measurement
12th | 34th | level measurement | 23th | 11.To measure Energy at different Loads using Single Phase digital energy meter
| 35th | displacement measurement using transducers | 24th | 12. Measurement of power in a 3 phase circuit using CT, PT and 3-phase wattmeter
| 36th | Measurement of Temperature
13th | 37th | Different types of thermometers | 25th | 12. Measurement of power in a 3 phase circuit using CT, PT and 3-phase wattmeter
| 38th | thermocouple | 26th | review of practical 1-5
| 39th | resistance temperature detector and their construction
14th | 40th | Thermal Imager Camera | 27th | review of practical 6-10
| 41th | Assignment work | 28th | review of practical 6-10
| 42th | Assignment work
15th | 43th | Assignment work | 29th | viva
| 44th | Assignment work | 30th | viva
| 45th | Sessional test