Lesson Plan

Name of Faculty                  :-                     Rohit  Kumar

Discipline                              :-                     Electrical Engineering

Semester                               :-	                  1ST  Semester

Subject                                  :-                    PRINCIPLES OF  ELECTRICAL ENGINEERING

Lesson Plan Duration         :- 	                 15 Week (30 JULY TO 23 NOVEMBER 2026)

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
| 1st | Lecture Day | Topic | Practical Day | Topic |
|  | 1st | INTRODUCTION of PEE | 1st E1/E2 | 1. Familiariztion of basic components/equipments like ammeter, voltmeter,etc. and their operation, uses. |
|  | 2nd | NATURE OF ELECTRICTY |  |  |
|  | 3rd | CHARGE, FREE ELCTRON, PD |  |  |
| 2nd | 1st | CURRENT, ENERGY, POWER AND UNITS | 2 E1/E2 | 2. Determine the value of resistance using colour coding method. |
|  | 2nd | RESISTANCE, CONDUCTIVITY AND RESISTIVITY |  |  |
|  | 3rd | TEMPERATURE ON RESISTANCE, TYPES, COLOR CODING |  |  |
| 3rd | 1st | RATING, HEATING EFFECT | 3 E1/E2 | 3. Oberserve of change in resistance of a bulb in hot and cold condition. |
|  | 2nd | CAPACITORS |  |  |
|  | 3rd | CAPACITANCE IN PARALLEL PLATE, GROUPING |  |  |
| 4th | 1st | ENERGY STORE IN CAPACITORS |  | 4. To charge and discharge a capacitor and to show the graph on CRO. |
|  | 2nd | REVISION-1 |  |  |
|  | 3rd | INTRO TO DC CIRCUITS |  |  |
| 5th | 1st | OHMS LAW | 5 | 5. Verification of laws of capacitors in series and parallel. |
|  | 2nd | TYPES OF DC CIRCUIT |  |  |
|  | 3rd | CONCEPT OF VOLTAGE AND CURRENT SOURCE |  |  |
| 6th | 1st | WHEATSTONE BRIDGE | 6 | 6. To verify ohms law by drawing a graph between voltage and current. |
|  | 2nd | KVL AND KCL |  |  |
|  | 3rd | STAR- DELTA CONNECTION |  |  |
| 7th | 1st | REVISION-2 | 7 | 7. Verification KCL in DC circuit. |
|  | 2nd | INTRO TO ELECTROSTATIC |  |  |
|  | 3rd | COULOMB'S LAW |  |  |
| 8th | 1st | ELECTROMAGNETISM, MAGNETIC EFFECT | 8 | 8. Verification KVL in DC circuit. |
|  | 2nd | DIRECTION, RHL AND CORK SCREW RULE |  |  |
|  | 3rd | CIRCULAR COIL, SOLENOID |  |  |
| 9th | 1st | CONDUCTORS IN MAGNETIC FIELD | 9 | 9. Measurement of current and voltage in series resistive circuit. |
|  | 2nd | FORCE, MMF,FLUX DENSITY, RELUCTANCE |  |  |
|  | 3rd | PERMEABILITY, FIELD INTENSITY, RELATION |  |  |
| 10th | 1st | REVISION-3 | 10 | 10. Measurement of current and voltage in parallel resistive circuit. |
|  | 2nd | ELECTROMAGNETIC INDUCTION |  |  |
|  | 3rd | SERIES AND PARALLEL MAGNETIC CIRCUIT |  |  |
| 11th | 1st | MAGNETIC CURVE | 1st | 11. To find the ratio of inductance of a coil having air-core and iron core respectively. |
|  | 2nd | HYSTERESIS LOSS |  |  |
|  | 3rd | FARADAY'S LAW OF EMI | 2nd |  |
| 12th | 1st | LENZ'S LAW AND FLEMING'S RHL | 1st | 12. Verification of Faradays law of electromagnetic induction. |
|  | 2nd | SELF INDUCTION AND MUTUAL INDUCTION |  |  |
|  | 3rd | ENERGY STORED IN INDUCTOR |  |  |
| 13th | 1st | REVISION-4 |  | 13. To obtain BH curve of a magnetic material. |
|  | 2nd | INTRODUCTION OF BATTERY |  |  |
|  | 3rd | ELECTROLYSIS, FARADYA'S LAW |  |  |
| 14th | 1st | CONCEPT OF CELL |  | 14. Demonstration of parts of a battery and find the specific gravity of a battery. |
|  | 2nd | CONCEPT OF BATTERY |  |  |
|  | 3rd | CHARGING METHODS |  |  |
| 15th | 1st | CARE AND MAINTENANCE AND DISPOSAL OF BATTERY |  | 15. Demonstration of charging and discharging of a battery. |
|  | 2nd | REVISION |  |  |
|  | 3rd | REVISION |  |  |