## Sheet1
LESSON PLAN
Name of the faculty: |  | Dayanand (Lecturer, EE Deptt)
Discipline : |  | Electrical ENGG.
Semester : |  | 3RD
Subject : |  | ELECTRICAL MEASURMENT & INSTRUMENTATION
Lesson Plan Duration : |  | 15 weeks (30/07/2026 to Dec 2026)
Work load (Lecture/Practical) per week (60 minutes) : Lectures-03 , Practicals-04
Week | Theory |  | Practical
Lecture day |  | Topic | Practical day | Topic
1st | 1st | Unit-1 Significance of measurement | 1st | Use of analog and digital multimeter for measurement of voltage, current (A.C/D.C) and resistance.
| 2nd | Type of measuring instruments, Methods of measurement
| 3rd | Errors in measurement, types of error | 2nd | To measure the value of earth resistance using earth tester.
2nd | 4th | Classification of measuring instruments: indicating, recording and integrating instruments | 3rd | To measure power, power factor in a single-phase circuit, using wattmeter and power factor meter and to verify results with calculations
| 5th | Essential requirement of indicating instruments | 4th | Measurement of power and power factor of a three-phase balanced load by two wattmeter method
| 6th | Methods of providing controlling torque
3rd | 7th | Methods of providing damping torque | 5th | Measurement of power and power factor of a three-phase balanced load by two wattmeter method
| 8th | Concept of Ammeter, voltmeter,differnce between ammeter & voltmeter
| 9th | Construction, working principle, merits, | 6th | Measurement of voltage and frequency of a sinusoidal signal using CRO and draw wave shape of signal
4th | 10th | demerits and comparison of moving coil & moving iron instruments | 7th | Use of LCR meter for measuring inductance, capacitance and resistance
| 11th | Extension of range and calibration of voltmeter and ammeter | 8th | Calibration of single phase and three-phase energy meter
| 12th | Errors and compensation in ammeters & voltmeters
5th | 13th | unit-2 Construction, working principle, merits and demerits of dynamometer wattmeter | 9th | Use of Phase sequence indicator
| 14th |  | 10th | Measurement of pressure by using LVDT
| 15 th | Active and reactive power measurement by , two and three wattmeter method
6th | 16 th | Effect of Power factor on wattmeter reading in two wattmeter method | 11th | To measure temperature using a thermo-couple
| 17 th | Maximum Demand indicator. | 12 th | To measure the strain using electrical strain gauge
| 18th | Construction, working principle, merits and demerits of single-phase energy meter
7th | 19 th | Construction, working principle, merits and demerits of three-phase energy meter | 13th | Study of earthing practices
| 20 th | Errors and compensations of energy meters | 14th | To measure the pH level using pH meter
| 21 th | calibration of energy meter using direct loading
8th | 22 th | Digital energy meter (diagram, construction and application). | 15th | To record all electrical quantities from the meters installed in the institution premises
| 23 th | Revision
| 24 th | Revision | 16th | Revision
9th | 25 th | UNIT III Measurement of other instruments Meggar, Earth tester | 17 th | Revision
| 26 th | multi-meter (analog and digital), Frequency meter (dynamometer type), | 18th | Measurement of power and power factor of a three-phase balanced load by two wattmeter method
| 27 th | single phase power factor meter
10 th | 28 th | Working principle of synchroscope and phase sequence indicator | 19th | Use of LCR meter for measuring inductance, capacitance and resistance
| 29 th | Construction, working and applications of CT and PT | 20th | Use of analog and digital multimeter for measurement of voltage, current (A.C/D.C) and resistance.
| 30 th | tong tester (Clamp-on meter), Study of LCR meters and their applications
11 th | 31 th | Cathode Ray Oscilloscope: Block diagram, working principle of CRO and its various controls | 21th | Study of earthing practices
| 32 th | Digital Storage Oscilloscope (DSO). | 22th | To measure temperature using a thermo-couple
| 33 th | UNIT IV Transducre Introduction, Types of Transducers
12 th | 34 th | construction & principle of transducer-Potentiometer –variac and strain gauges | 23th | To measure the pH level using pH meter
| 35 th | Transducer-Potentiometer –variac and strain gauges | 24th | To measure power, power factor in a single-phase circuit, using wattmeter and power factor meter and to verify results with calculations
Sub-circuits, various accessories and parts of domestic electrical installation.
| 36 th | Identification of wiring systems. Common safety measures and earthing
13 th | 37 th | Electrical shock and precautions against shock | 25 th | Calibration of single phase and three-phase energy meter
| 38 th | Treatment of electric shock
| 39 th | Concept of fuses and their classification, selection and application | 26th | To measure the value of earth resistance using earth tester.
14 th | 40 th | Gauge factor, Types of strain gauges like unbonded, bonded and Semiconductor | 27 th | Measurement of voltage and frequency of a sinusoidal signal using CRO and draw wave shape of signal
| 41 th | Construction and principle of Inductive transducers-L.V.D.T. and R.V.D.T & their applications
| 42 th | UNIT V Measurement of Non Electrical Quantities Temperature measurement - Construction and Working of RTD | 28 th | To measure temperature using a thermo-couple
15 th | 43 th | Pressure Measurement | 29th | To record all electrical quantities from the meters installed in the institution premises
| 44 th | Measurement of pH Level. | 30th | Revision
| 45 th | Revision