| Name of the Faculty | Mr.Gurmeet singh |
| --- | --- |
| Discipline | Electrical Engineering |
| Semester | 3rd Semester |
| Subject | Electrical Engineering Drawing |
| Lesson Plan Duration | 15-16 Week |

| Practical Day | Topic |
| --- | --- |
| 1 | Unit 1 : Electrical Symbols used in Electrical installation |
| 2 | Drawing sheet1: Design and Drawing of panels/Distribution board using MCB, ELCB main switches and change over switches |
| 3 | Drawing sheet2: Design and Drawing of panels/Distribution board using MCB, ELCB main switches and change over switches |
| 4 | Unit 2 : DOL starting of 3-phase induction motor |
| 5 | 3-phase induction motor getting supply from selected feeder |
| 6 | Forwarding/reversing of a 3-phase induction motor |
| 7 | Two speed control of 3-phase induction motor |
| 8 | Sequential operating of two motors using time delay relay |
| 9 | Manually generated star delta starter for 3-phase induction motor |
| 10 | Automatic star delta starter for 3-phase Induction Motor |
| 11 | Draw the wiring diagram of battery and inverter connected to residential load. |
| 12 | Draw the wiring diagram of standalone solar light system with battery for a residential house |
| 13 | Draw the wiring diagram of solar water heating system. |
| 14 | Key diagram of 11kV, 33kV |
| 15 | Key diagram of 66kV sub-stations |
| 16 | Key diagram of 132 kV sub-stations |
| 17 | Draw pipe Earthling. |
| 18 | Draw plate Earthling. |
| 19 | Bus bar post. |
| 20 | Kit Kat Fuse. |
| 21 | Pin type insulator (Pin Type 11kV) |
| 22 | Pin type insulator (Pin Type 66kV) |
| 23 | Rotor of a squirrel cage induction motor |
| 24 | Stator of 3 phase Induction motor (Sectional View) |
| 25 | Revision |
| 26 | Revision |
| 27 | Revision |
| 28 | Revision |