| Name of the Faculty |  |  |  | Sh.Gurmeet singh |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Discipline |  |  |  | Electrical Engineering |  |  |
| Semester |  |  |  | 5thSemester |  |  |
| Subject |  |  |  | Solar Panel Installation and Maintenance |  |  |
| Lesson Plan Duration |  |  |  | 15-16 Week |  |  |
| Week | Theory |  |  |  | Practical |  |
|  | Lecture | Topic (including assignment/test) |  |  | Practical | Topic |
| 1 | 1,2 | Basic of PV system |  |  |  |  |
|  | 3 | PV Cell, PV panel, PV module |  |  |  |  |
| 2 | 4,5,6 | PV Arrays, Photovoltaic I-V Characteristics Curves, conversion efficiency |  |  |  |  |
| 3 | 7,8,9 | Selection of Site: Site assessment tools |  |  |  |  |
| 4 | 10,11 | Site Location ,Climate Condition |  |  |  |  |
|  | 12 | Solar Irradiance |  |  |  |  |
| 5 | 13,14,15 | Solar Insulation ,Sun Angle and PV Orientation, Shading analysis |  |  |  |  |
| 6 | 16,17,18 | Tilt angle and its significance in solar panel orientation |  |  |  |  |
| 7 | 19,20,21 | PV Module: Series and Parallel connection of PV |  |  |  |  |
| 8 | 22,23 | Charger Controller: Function, type of charge controller |  |  |  |  |
|  | 24 | Inverter: Function ,power ratings |  |  |  |  |
| 9 | 25,26 | Storage Battery: Battery parameters ,battery bank |  |  |  |  |
|  | 27 | Types of batteries used in solar system |  |  |  |  |
| 10 | 28 | PV Mounting Structure :Roof mounted and ground mounted |  |  |  |  |
|  |  | Structure |  |  |  |  |
|  | 29 | Balance of Systems: Disconnecting switches, wires and cables, combiner boxes, net meter, protection devices, earthing and grounding, Solar tracking systems etc. |  |  |  |  |
|  | 30 | Installation Tool: Hand tool ,wire strippers, crimping tools |  |  |  |  |
| 11 | 31 | Nuts ,andwashers ,Leveling tools, ground anchors, multi meter |  |  |  |  |
|  | 32 | Clamp on meter ,non-contact thermometer ,angle finder etc |  |  |  |  |
|  | 33 | Types of Solar PV System: Standalone PV system ,On Grid system, Off Grid system |  |  |  |  |
| 12 | 34 | Hybrid PV system, Comparison of Different types of PV system |  |  |  |  |
|  | 35 | Design Methodology for SPV system: Calculation of load, Size of solar panel |  |  |  |  |
|  | 36 | Battery sizing, Selection of inverter, Size of charge controller, Cable sizing etc |  |  |  |  |
| 13 | 37 | Connection of PV system components |  |  |  |  |
|  | 38 | Operating Hazardous Tools and Equipment: Personal protective equipment(PPE),Fall protection equipment/tools, Fire protection equipment |  |  |  |  |
|  | 39 | Safety of PV system: PV module safety, Electrical Safety, Battery safety |  |  |  |  |
| 14 | 40 | Marking and Labeling of PV components |  |  |  |  |
|  | 41,42 | Maintenance of Solar PV system |  |  |  |  |
| 15 | 43,44 | Maintenance of Battery |  |  |  |  |
|  | 45 | Installation and Troubleshooting of Solar PV system |  |  |  |  |
| 16 | 46,47 | Revision-1 |  |  |  |  |
|  | 48 | Revision-2 |  |  |  |  |